## Slide 1: Estimation of vertical air motion under extreme operation of MIRA36
Martin Hagen DLR Institut für Physik der Atmosphäre Oberpfaffenhofen
Kersten Schmidt, Matthias Bauer-Pfundstein, Alexander Partus, Lutz Hirsch, Heike Konow, Friedhelm Jansen…

## Slide 2: MIRA36 measurements in mountainous region
MIRA36 at UFS Environment Research Station Schneefernerhaus (2650 m MSL)
http://www.pa.op.dlr.de/poldirad/ufsmira.html
Operation since Nov. 2011
Archive: *.mmclx *.dmp *.zspc *.pds (off-line)

## Slide 3: MIRA36 measurements in mountainous region
Challenges:
harsh environment
  temperature
  snow fall
  snow drift
  low pressure
adapted installation
limited access

## Slide 4: MIRA36 measurements in mountainous region
SNR
LDR
VEL
SNR
VEL
VEL
28 Nov. 2012
10 Dec. 2012
14 Dec. 2012

## Slide 5: MIRA36 measurements in mountainous region
Zugspitze 2962 m
UFS 2650 m
Platt 2500 m
Ehrwald 700 m
Eibsee 1000 m
North

## Slide 6: MIRA36 measurements in mountainous region
Example breaking waves 30 Sept. 2012
Reflectivity (dBZ)
Doppler velocity (m/s)

## Slide 7: MIRA36 measurements in mountainous region
clutter from Gletscherbahn gondola
SNR
LDR
VEL
24 Feb. 2014

## Slide 8: HAMP – HALO Microwave Package
MIRA cloud radar
RPG microwave radiometers
WALES water vapour lidar
WALES
Cloudradar 35 GHz
Microwave radiometer 183 22/58 90/119 GHz

## Slide 9: HALO Cloud Radar
Modified MIRA 36 for aircraft use
  EMC compatibility
  mitigation of electromagnetic radiation in the cabin
  adapted clutter fence
any technical modification requires paper work, costs, time, …
antenna with clutter fence mounted in rear bottom window frame
3 PC’s radiometer
PC radar
display keyboard KVM switch
WALES
dryer
TX
RX

## Slide 10: NARVAL Next-generation Aircraft Remote Sensing for Validation Studies
  NARVAL North, January 2014 (post-frontal extra-tropics systems) PI: Bjorn Stevens, Felix Ament
  NARVAL South, December 2013 (North Atlantic trade wind clouds) PI: Christian Klepp, Stephan Bakan
  total about 135 hours flights

## Slide 11: HALO Cloud Radar
Challenges:
Calibration (additional losses through radom plate, longer wave guides)  Intercomparison with other MIRA, Cloudsat, RASTA, …
Aircraft speed of 240 m/s requires shorter sampling time 1 second (= 20 FFT of 256 samples at 5000 Hz)
Sensitivity issues: boundary water clouds are 10 – 14 km away from radar; broadening of spectra reduces power in spectral peak
Contribution of aircraft motion on Doppler velocity

## Slide 12: HALO Cloud Radar – Intercomparison with Jülich

## Slide 13: HALO Cloud Radar – Intercomparison with Leipzig
no reflectivities < -30 dBZ
higher boundary layer sensitivity at lower flight height

## Slide 14: HALO Cloud Radar – Intercomparison with Cloudsat/Calipso
54° N
53° N
52° N
51° N
HALO Cloud radar (35 GHz) Reflectivity
CLOUDSAT Cloud radar (95 GHz) Reflectivity
HALO WALES Attenuated Backscatter Ratio 1064 nm (|| Pol.)
14
12
10
8
6
4
2
0
14
12
10
8
6
4
2
0
Altitude (km)
Altitude (km)
14
12
10
8
6
4
2
0
Altitude (km)
CALIPSO Attenuated Backscatter 1064 nm (dB km-1 sr-1)
51.5 52.0 52.5 53.0 53.5 54.0 Latitude N

## Slide 15: HALO Cloud Radar and Lidar
Radar reflectivity Z α D6; Lidar backscatter β α D2
Lidar sensitive on hydrometeor concentration; signal can be saturated
Radar sensitive on hydrometeor size; cumulus clouds, water clouds and thin cirrus can be missed
NARVAL North 21-02-2014

## Slide 16: HALO Cloud Radar – Intercomparison with French RASTA
Joint flight
during NARVAL
between
Lyon and
Tarbes

## Slide 17: HALO – Cloud Radar
Contribution of aircraft motion on Doppler velocity
Aircraft vertical motion up – down  neglectible (?!?)
Pitch of aircraft (1.5 – 3°)  2° @ 210 m/s = 7.2 m/s depends on weight and speed
Broadening of Doppler spectrum  0.6 m/s spectral width by finite beam width introduced
Influence of wind profile if  wind profil is not known pitch is non-zero normally, dropsondes can give estimate

## Slide 18: HALO – Cloud Radar
Contribution of aircraft motion on Doppler velocity
Simulations with 2° pitch, TAS 210 m/s
rain fall 5 mm/h Marshall- single bin 0 dBZ Palmer size distribution
-13 dB

## Slide 19: Summary
Calibration issue
  Schneefernerhaus: longer waveguide than usual hard to place an other MIRA for comparison
  HALO cloud radar: loss through radom plate 1.5 dB one-way (different estimations, measurements at on point in radom only) intercomparison with other MIRA36, but also other radars
Dopper velocity Doppler velocity = vertical air motion + fall speed of hydrometeors
  Schneefernerhaus: large influence of flow over Alps
  HALO aircraft motion does contaminate Doppler velocities