## Slide 1: Utilization of the covariance matrix in cloud radars
Alexander Myagkov, PhD student,TROPOS, Leipzig
Dr. Patric Seifert, TROPOS, Leipzig
Dr. Matthias Bauer-Pfundstein, METEK, Elmshorn, Germany
MIRA-workshop, 14th of May 2014, Munich, Germany

## Slide 2: Outline
Statistical description of the polarization of electromagnetic waves
Formation of the received vector signal
Main applications of statistical analysis of polarization in cloud radars
  Determination of reasons of the polarization leakage and correction of polarimetric measurements (ink. LDR)
  Separation of point and distributed targets
  Possibility of shape estimation
  Possibility of orientation estimation
Summary
Further plans

## Slide 3: Statistical description of electromagnetic waves
Polarization phasor:
Notes: Arg(P) - > delta phi

## Slide 4: Statistical description of electromagnetic waves
Polarization phasor:
Notes: Arg(P) - > delta phi

## Slide 5: Statistical description of electromagnetic waves
Polarization phasor:

## Slide 6: Statistical description of electromagnetic waves
Polarization phasor:
Elements of the covariance matrix:
Mean differential phase:
Co-cross-correlation coefficient:
, where
Linear depolarization ratio:

## Slide 7: Statistical description of electromagnetic waves
Polarization phasor concentrated in a specific area
Wave is partly-polarized
= 0.8, = 45˚
Polarization phasor:
Elements of the covariance matrix:
Mean differential phase:
Co-cross-correlation coefficient:
, where
Linear depolarization ratio:

## Slide 8
All pulses have the same polarization phasor
Wave is fully-polarized
= 1, = 45˚
Statistical description of electromagnetic waves
Polarization phasor:
Elements of the covariance matrix:
Mean differential phase:
Co-cross-correlation coefficient:
, where
Linear depolarization ratio:

## Slide 9: Statistical description of electromagnetic waves
Symmetrical distribution of polarization phasor in relation to the center of coordinate system
Wave is non-polarized
= 0
Polarization phasor:
Elements of the covariance matrix:
Mean differential phase:
Co-cross-correlation coefficient:
, where
Linear depolarization ratio:

## Slide 10: Formation of the received vector signal

## Slide 11: Formation of the received vector signal
Scattering matrix containing bulk information:
Size
Concentration
Dielectric constant
Shape
Orientation
Correlation between parameters
The main goal of polarimetric radar measurements is

## Slide 12: Formation of the received vector signal
Scattering matrix containing bulk information:
Size
Concentration
Dielectric constant
Shape
Orientation
Correlation between parameters
The main goal of polarimetric radar measurements is

## Slide 13: Formation of the received vector signal
Scattering matrix containing bulk information:
Size
Concentration
Dielectric constant
Shape
Orientation
Correlation between parameters
Formed signal
Carrier frequency
Modulation
Polarimetric configuration
The main goal of polarimetric radar measurements is

## Slide 14: Formation of the received vector signal
Scattering matrix containing bulk information:
Size
Concentration
Dielectric constant
Shape
Orientation
Correlation between parameters
Influence of propagation medium
Attenuation
Differential attenuation
Differential phase shift
The main goal of polarimetric radar measurements is
Formed signal
Carrier frequency
Modulation
Polarimetric configuration

## Slide 15: Formation of the received vector signal
Scattering matrix containing bulk information:
Size
Concentration
Dielectric constant
Shape
Orientation
Correlation between parameters
Influence of wave-guide system and antenna on amplitude and phase relations
The main goal of polarimetric radar measurements is
Influence of propagation medium
Attenuation
Differential attenuation
Differential phase shift
Formed signal
Carrier frequency
Modulation
Polarimetric configuration

## Slide 16: First application: Determination of reasons of the polarization leakage and correction of polarimetric measurements

## Slide 17: Antenna influence on MIRA polarimetric measurements
8 Nov 2013

## Slide 18: Antenna influence on MIRA polarimetric measurements
LDR values in areas with high SNR in both channels (melting layer) are the same
LDR values in ice and liquid areas are different
8 Nov 2013

## Slide 19: Co-cross-correlation coefficient
Transmitted signal is supposed to be fully-polarized (ρ=1)
Isotropic (in polarization sense) particles do not change the polarization state of the scattered wave
Received wave should be also fully-polarized
Ryzhkov, A. V., Journal of Atmospheric and Oceanic Technology, 2001
Co-cross-correlation coefficient and co-cross differential phase give additional possibilities for retrievals of microphysical properties of hydrometeors

## Slide 20: Co-cross-correlation coefficient
ice
liquid
ML
Transmitted signal is supposed to be fully-polarized (ρ=1)
Isotropic (in polarization sense) particles do not change the polarization state of the scattered wave
Received wave should be also fully-polarized
Ryzhkov, A. V., Journal of Atmospheric and Oceanic Technology, 2001
Co-cross-correlation coefficient and co-cross differential phase give additional possibilities for retrievals of microphysical properties of hydrometeors
The strong influence of the radar antenna system should be taken into account when co-cross-correlation coefficient is used.

## Slide 21: Amplitude antenna patterns

## Slide 22: Amplitude antenna patterns
HH patterns are identical
VV patterns are identical
Bad antenna produces more polarization leakage
Bad antenna produces more polarization leakage

## Slide 23: Phase antenna patterns

## Slide 24: Phase antenna patterns
High SNR in both channels
High SNR in H channel,
Low SNR in V channel
High SNR in V channel,
Low SNR in H channel
For the isotropic particles the co-cross phase difference is defined by antenna patterns
For depolarizing particles additional phase shift due to the antenna system of the radar is constant

## Slide 25: Correction results for linear depolarization ratio
Corrected values of LDR for isotropic particles are much lower
Corrected values for both radars are much closer and can be intercompared.

## Slide 26: Correction results for linear depolarization ratio

## Slide 27: Correction results for co-cross-channel correlation

## Slide 28: Correction results for co-cross-channel correlation
ρ=1 for raindroplets
Lower ρ for non-isotropic
scatterers with random
orientation
ρ is about 0 for melting
layer
High ρ for insects

## Slide 29: Second application: separation of point and distributed targets

## Slide 30: Point and distributed targets separation
Insects produce high depolarization
High SNR in the cross-channel
Constant phase difference
Signal is almost fully-polarized
High co-cross-correlation coefficient

## Slide 31: Third application: shape estimation

## Slide 32: Linear depolarization ratio (dB), 06:00 – 08:00 10.11.2013, TROPOS, Leipzig
Liquid water
Ice
Melting layer

## Slide 33: Linear depolarization ratio (dB), 06:00 – 08:00 10.11.2013, TROPOS, Leipzig
Liquid water
Ice
Melting layer
In the case of the vertical sensing there is not enough information to estimate particle’s shape

## Slide 34: Basics of Matrosov’s approach of particle shape estimation with polarimetric cloud radar

## Slide 35: Basics of Matrosov’s approach of particle shape estimation with polarimetric cloud radar

## Slide 36: Basics of Matrosov’s approach of particle shape estimation with polarimetric cloud radar
H (CO)
V (CROSS)
Electric field vector of the transmitted signal
LDR-mode
Usual LDR-mode
- Transmission of the horizontally polarized wave
- Receiving both horizontal and vertical components of received wave

## Slide 37: Basics of Matrosov’s approach of particle shape estimation with polarimetric cloud radar
Usual LDR-mode
- Transmission of the horizontally polarized wave
- Receiving both horizontal and vertical components of received wave
Slanted LDR-mode
- Transmission of the +45 deg polarized wave
- Receiving both +45 deg and
-45 deg components of received wave
+45 (CO)
-45 (CROSS)
Electric field vector of the transmitted signal
SLDR-mode

## Slide 38: Basics of Matrosov’s approach of particle shape estimation with polarimetric cloud radar
Usual LDR-mode
- Transmission of the horizontally polarized wave
- Receiving both horizontal and vertical components of received wave
Slanted LDR-mode
- Transmission of the +45 deg polarized wave
- Receiving both +45 deg and
-45 deg components of received wave

## Slide 39: Basics of Matrosov’s approach of particle shape estimation with polarimetric cloud radar
Usual LDR-mode
- Transmission of the horizontally polarized wave
- Receiving both horizontal and vertical components of received wave
Slanted LDR-mode
- Transmission of the +45 deg polarized wave
- Receiving both +45 deg and
-45 deg components of received wave
Slanted LDR mode is more suitable in comparison to usual LDR mode for cloud particle shape estimation due to less sensitivity to particles orientation angle

## Slide 40: Basics of Matrosov’s approach of particle shape estimation with polarimetric cloud radar
Matrosov, S. Y. Et al. Journal of Atmospheric and Oceanic Technology, 2012.
Matrosov only looked at precipitating clouds.

## Slide 41: Basics of Matrosov’s approach of particle shape estimation with polarimetric cloud radar
Matrosov, S. Y. Et al. Journal of Atmospheric and Oceanic Technology, 2012.
Matrosov only looked at precipitating clouds.
Model parameters:
D – median volume size of particles;
ρ – bulk density;
r – axis ratio;
Mean orientation angle is 0 deg, standard deviation of orientation angles is 9 deg.

## Slide 42: Slanted LDR-mode in MIRA-35 system
Scanning from 35 to 145 degrees
Strong dependence of the SLDR value on the radar elevation angle
-> particle non-sphericity
SLDR (dB) 14:44-14:51 20.10.2013 Elmshorn, Germany

## Slide 43: Slanted LDR-mode in MIRA-35 system
Scanning from 35 to 145 degrees
Strong dependence of the SLDR value on the radar elevation angle
-> particle non-sphericity
SLDR (dB) 14:44-14:51 20.10.2013 Elmshorn, Germany

## Slide 44: Measurements from 08.09.2013 19:37-19:44, Elmshorn, Germany
Co-cross-correlation coefficient
Slanted LDR [dB]
Differential phase [deg]
No angular dependence
Angular dependence
Angular dependence

## Slide 45: Measurements from 08.09.2013 19:37-19:44, Elmshorn, Germany
Slanted LDR [dB]
Co-cross-correlation coefficient
Differential phase [deg]
Angular dependence of co-cross-correlation coefficient, co-cross differential phase as well as slanted linear depolarization ratio indicates the non-sphericity of cloud particles
For the interpretation of the measurement results the model taking into account all hardware effects is necessary

## Slide 46: Fourth application: orientation estimation

## Slide 47: Sensing of a point target from different sides
The difference in orientation leads to the additional 180 degrees difference in the phase shift between the co and cross channel.

## Slide 48: Measurements from 08.09.2013 19:37-19:44, Elmshorn, Germany
-180
180
0
Co-cross differential phase shift [deg]
Co-cross-channel correlation coefficient
Linear depolarization ratio [dB]
-90
90
0
1
0.5
0.25
0.75
-35
5
-15
-25
-5
Alignment of insects probably concerned with a wind direction or position of the Sun

## Slide 49: Summary
The coherency matrix can be measured in the cloud radar MIRA-35 in continuous mode.
Explanation of increased LDR values by the decomposition of the coherency matrix.
Elements of the coherency matrix contain information about the target’s shapes and orientations.
The co-cross-channel correlation allows to separate point and distributed particles.

## Slide 50: Further plans
Evaluation of STAR-mode MIRA-35.
Development of the model of the radar channel taking into account the influence of the complex antenna patterns.
Definition of the optimal scanning strategy.
Development or retrieval algorithms for cloud particles microphysical properties.
Synergy of weather and cloud polarimetric radar within ACCEPT measuring campaign.

## Slide 51: Thanks for your attention