## Slide 1
MIRA spectra visualization
using Ed Luke’s software
E. Orlandi , M. Maahn , C. Acquistapace and S. Kneifel
Institute for Geophysics and Meteorology, University of Cologne
McGill University, Montreal, Canada

## Slide 2: Outlook
Why spectra?
Ed Luke’s spectra visualizer
3 examples
  Liquid cloud_1 drizzle
  Mixed phase cloud ice-snow/rain footprint
  Liquid cloud_2 fall-streaks
Notes: microwave radiometers measure brightness temperature ...
.. what is the theory behind the sensitivity to snowfall and cloud liquid??

## Slide 3: What is the Doppler Spectrum influenced by?
rising particles
falling particles
cloud
drizzle
light rain
moderate
rain
heavy
rain
*
*
*
*
*
*
*
*
*
*
*
*
*
ice/snow
noise
Velocity (m/s)
Received Power (dB)
Particle size
increasing
Particle count increasing
updrafts
downdrafts
turbulence
Ed Luke

## Slide 4
Lidar Backscatter:
Clear Indicator of
2 liquid water layers
KaZR@NSA: Ze
Cloud
droplets
Ice and snow
Rimed
Doppler vel.
Example for spectral information: Riming (arctic mixed phase)
Stefan Kneifel

## Slide 5: Example: Spectrum Moments (Skewness) in Marine StCu
autoconversion dominated
accretion dominated
GRW 20100727
Stefan Kneifel

## Slide 6: Detecting artefacts
Stefan Kneifel

## Slide 7: 1 – Drizzle 2014.04.30
Notes: microwave radiometers measure brightness temperature ...
.. what is the theory behind the sensitivity to snowfall and cloud liquid??

## Slide 8: 1 – Drizzle 2014.04.30
Notes: microwave radiometers measure brightness temperature ...
.. what is the theory behind the sensitivity to snowfall and cloud liquid??

## Slide 9
1 – Drizzle 2014.04.30
Notes: microwave radiometers measure brightness temperature ...
.. what is the theory behind the sensitivity to snowfall and cloud liquid??

## Slide 10: 1 – Drizzle 2014.04.30

## Slide 11: 2 – Mixed-phase cloud 2013.07.03
Notes: microwave radiometers measure brightness temperature ...
.. what is the theory behind the sensitivity to snowfall and cloud liquid??

## Slide 12
2 – Mixed-phase cloud 2013.07.03
Notes: microwave radiometers measure brightness temperature ...
.. what is the theory behind the sensitivity to snowfall and cloud liquid??

## Slide 13: 2 – Mixed-phase cloud 2013.07.03
Notes: microwave radiometers measure brightness temperature ...
.. what is the theory behind the sensitivity to snowfall and cloud liquid??

## Slide 14: 3 – Fall-streak 2013.07.03
Notes: microwave radiometers measure brightness temperature ...
.. what is the theory behind the sensitivity to snowfall and cloud liquid??

## Slide 15
3 – Fallstreak 2013.07.03

## Slide 16
Summary
Why spectra?
Dynamical and microphysical processes signatures
Detecting artefacts
Ed Luke’s spectra visualizer
  Handy tool to visualize radar measurements
  Useful to scroll through data to find interesting features
3 examples
  Mixed phase cloud ice-snow/rain footprint
  Liquid cloud_1 drizzle
  Liquid cloud_2 fall-streaks

## Slide 17: Coordination on Radar settings?
 | Pulse Repetition Frequency | Pulse Width | Number of FFT points | Averaging time
 | PRF |  |  | AVE
Juelich | 5 kHz | 200 ns | 256 | 1.02 s
… |  |  |  | 
Parameters | rain | snow
Nyquist Velocity (ms-1) | ± 8 | ± 4
ΔV (cms-1) | 3.2 | 1.6
ΔR (ΔR sampling) (m) | 45 (30) | 45 (30)
RMIN ― RMAX (km) | 0.6 ― 18 | 0.6 ― 18
Pulse width | TBD | TBD
Pulse repetition frequency | TBD | TBD

## Slide 18: Error estimation

## Slide 19
MIRA calibration
How often radar need to be calibrated?
Calibration method?
Common strategy for calibration?
Calibration exercise?
  Bring all MIRAin the same place?
  Bring one calibrated MIRAaround?
  …